## Slide 1
­
IonOptix: Culture Pacing System
Interactive Kiosk
Why Pace Your Cells? (Exits to Desktop)
C-Pace
C-Dishes
Components:
C-Pace EP

## Slide 2
­
System Components

## Slide 3
­
C-Pace Chronic Culture Stimulator
Features
Digital adjustment of:
  Frequency (0.010-10Hz)
  Pulse duration (0.4-24 msec)
  Voltage (up to 40V)
Bipolar pulses
Works in conjunction with C-Dish™ Culture Dish Electrode Assembly
High Voltage Output - 40V (up to 240mA) via standard 9-pin DIN connector
System Components

## Slide 4
­
IonOptix: Culture Pacing System
Interactive Kiosk
C-Pace
C-Dishes
Components:
C-Pace EP
Why Pace Your Cells? (Exits to Desktop)

## Slide 5
­
System Components

## Slide 6
­
C-Pace EP Chronic Culture Stimulator
Features
All standard C-Pace features, plus:
  Higher frequency (0.010-99Hz)
Arrhythmia Protocols
  Insert an offbeat pulse at a fixed interval.
Exercise Protocols
  Run multiple pulse trains with individually programmable frequency and duration.
Irregular Pacing
  Random variation of specified frequency.
External Triggering
  Change to next pulse train with TTL ‘advance’ input and/or trigger individual pulses with TTL ‘pulse’ input.
System Components

## Slide 7
­
IonOptix: Culture Pacing System
Interactive Kiosk
C-Pace
C-Dishes
Components:
C-Pace EP
Why Pace Your Cells? (Exits to Desktop)

## Slide 8
­
System Components

## Slide 9
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 10
­
System Components

## Slide 11
­
4 well Nunclon
System Components

## Slide 12
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 13
­
System Components

## Slide 14
­
8 well Nunclon
System Components

## Slide 15
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 16
­
System Components

## Slide 17
­
6 well Nunclon, Corning, BD Falcon
System Components

## Slide 18
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 19
­
System Components

## Slide 20
­
6 Individual 35mm Dishes
System Components

## Slide 21
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 22
­
System Components

## Slide 23
­
6 well Flexcell
System Components

## Slide 24
­
C-Dish Electrode Assemblies
4 well
Features:
Autoclavable.
Large surface area carbon electrodes prevent toxic buildup.
Stable assembly fits standard multiwell dishes.
Removable lid provides easy access to media with electrodes in place.
C-Dishes Formats
8 well
6 well
Individual 35mm
6 well Flexcell
System Components

## Slide 25
­
System Components